ESG-PWM185  Polycrystal Solar Panel

ELECTRICAL DATA

NOMINAL PEAK POWER:    185W

MAX. POWER VOLTAGE:     29.0V

MAX. POWER CURRENT:     6.21A