	Pluggable / Plugs for pluggable / 2ESDVM 

	[image: image1.png]



[image: image2.jpg]5.08xP+10.16

15.00

@ )

5.08 7.62

254






	Specification/Accessory explaination

	[image: image3.png]Pitch: 5.08mm

WG

Rated valtage 00v 250V
Rated current 184 1754
Wire range 1.5
Solid wire (AWG) 2612
Stranded wire (AWG) 30-12
Insulation withstand voltage v
Torque (Lb-in) 45
Screw M25
Wire strip length 7~8mm
I T
02 2ESDVMOZP
0 2ESDVMO3P
04 2ESDVMO4P
2 2ESDVM22P
5 2ESDVM23P

24 JESDVM24P





	Accessory name

Accessory type

Accessory name

Accessory type




	Dinkle Enterprise Co., Ltd.
No. 3. Min An Road, Hsin Chuang City, Taipei, Taiwan
Phone: 886-2-2908-0614
Fax: 886-2-2908-8549
E-mail: infor@dinkle.com.tw
	Dinkle International Co., Ltd
No. 3. Min An Road, Hsin Chuang City, Taipei, Taiwan
Phone: 886-2-2904-3851
Fax: 886-2-2908-8549
E-mail: infor@dinkle.com.tw


