[image: image1.jpg]






             DC Immune Current Transformer
[image: image3.png]ES.G.





Typical specifications and parameters for DC immune CT

	Model
	Current Ratio
	Accuracy Class
	Rated Burden (Ω)
	Mechanical Dimensions

	ESG-DCT120А
	10(120)A/4mA
	0.1%
	5
	


Dimension: ESG-DCT120А
[image: image2.png]#IDCT 10-120A drawing. pdf - Foxit Phantom - [DCT, 10-120A drawing, pdf]

@afin Mpaska Oprarwiauwss Baa Kowiewrapm Oopsl 3auma McTpymentsi Monows

CEEe-%

CRE EICRCE VIEEY-

H-2-856-FHEE 7|

0A2/0200200

01

\G}_%

10 (120) A/4mA

10Q

0—-12 - 2912

Pasvep: [8.47 * 11,38 B]














http://www.electronics-solution.com

