[image: image2.png]ES.G.




[image: image3.png]P CT (for, UA Customer).pdf - Foxit Phantom - [CT (for, UA Customer). pdf]

BB S8 -gic - |

O-&-86-BFEE 7

CAs/sO00Qz20 T e

- ELECTRONICS SOLUTION GROUP LIMITED

FRENETH MR

Current Transformers (DC immune) ES-CT60

DC immunity
* Used asa current sensing device for metering.
* A s per national standard of GB1208-1997 (equivalent to IEC 185:1987) or IE C 60044.

1/1

| o | 125% © EIEt®
® liyi. 2 mnB e








             DC Immune Current Transformer

Key Features:
1. Accurate DC measurement, comply to IEC 1036 and IEC 62053
2. Suitable for a wide range of current (from 1.5A to 100A);

3. Linear output current, high precision;

4. Compact, delicate appearance;

5. Encapsulated with epoxy resin to ensure strong insulation ability.
Typical specifications and parameters for DC immune CT

	Model
	Current Ratio
	Accuracy Class
	Rated Burden (Ω)
	Mechanical Dimensions

	ESG-DCT60А
	10(60)A/4mA
	0.1%
	5
	Refer ESG-DCT-60


Dimension: ESG-DCT60А
[image: image1.jpg]<p32

B> 100 RARER
=

60A 2500:1 5Q

<44

¥

T

®45

2l














http://www.electronics-solution.com

