KLS2-333K-3.50

Pitch:3.5mm Electrical. Rated Voltage/Rated Current; 300V/10A. Wire Range; 28-18 AWG, 1.0 mm2. Withstand Voltage; AC2000V/1Min. Insulation Resistance; 5000MΩ/DC1000V. Contact Resistance; 20 mΩ. Temp. Range; -30°C~+120°C. Torque; 0.2N.m (1.7Lb.in). Length; 4.5-5 mm. Mechanical. Housing; PBT, UL94V-0. Screw; M2, Steel,Zinc-plated. Reed; Phosphor Bronze , Electroless nickel. Pin Header; Brass,Tin-plated.